## Slide 1
Fluid Mechanics CEE 3311
LECTURE 10
Conservation of energy
Simplified forms of the energy equation
L. Handia

## Slide 2
Simplified forms of the energy equation
Energy equation for steady, one dimensional incompressible flow in a pipe
Consider flow through the pipe system shown below.
Fig 11.1 Pipe system
For a steady flow situation in which there is one entrance and one exit across which uniform profiles can be assumed
11.2
11.3
11.1

## Slide 3
For a flow the term in eq is constant across the cross section because v is constant (we assume a uniform velocity profile) and the sum of is constant if the streamlines at each section are parallel. Therefore, we take the term outside the integral and separating the velocity term integral
kinetic energy correction factor
for uniform flow ()
For most cases of turbulent flow, because this is very close to unity, it is common practice in engineering applications to let .
It can be seen that mass rate of flow. Where is the mean or average velocity over a cross section.
However, does not appear as a factor of in eq11.4; so it is common to express as equation 11.4 now becomes
11.5
11.3
11.4
See also Lecture 8

## Slide 4
Dividing by
The shaft work term is usually the result of a turbine or pump in the flow system. It is therefore convenient to represent the shaft work term as
where power delivered by a turbine
power supplied by a pump
Substituting eq 11.8 into eq 11.7 and divided by g results in
11.6
11.7
11.8
11.9
Lecture 9 slide 11

## Slide 5
Where weight flow rate (from w = gm)
11.9

## Slide 6
All of the terms of eq11.10 have one dimension:
Hence may be designated as (pump head) and similarly as (turbine head).
The term represents a loss of mechanical energy due to viscous stresses, which is usually lumped together in a single term called head loss and symbolised by . Thus eq 11.10 becomes
This is the steady flow energy equation.
11.11
11.10

## Slide 7
The sum of the terms on the left hand side of eq represents the total energy, stated in energy per unit weight of flowing liquid, plus the energy supplied by a pump.
The sum of the terms on the right hand side represents the total energy per unit weight at the downstream section plus the energy given up to a turbine and energy lost to friction between the two sections

## Slide 11: Energy equation for non-viscous steady, one dimensional incompressible flow in a pipe
If :
the losses are negligible
there is no shaft work
the flow is incompressible
The energy equation becomes
The energy equation has been reduced to a form identical with the Bernoulli equation. Assumptions are similar in both equations.
11.12