Overview of Measurements and Instrumentation

· Measurement
· A method to obtain information regarding the physical values of the variable. 
· Instrumentation
·    Devices used in measurement system
Terminologies
· Physical quantity: variable such as pressure, temperature, mass, length, etc.
· Data: Information obtained from the instrumentation/measurement system as a result of the measurements made of the physical quantities 
· Information: Data that has a calibrated numeric relationship to the physical quantity.

· Parameter: Physical quantity within defined (numeric) limits. 
Purpose of a measurement system
[image: image1.png]True value Measured value

of variable of variable Gl




measurand 
Sensor, signal conditioning, display

Man, tracking control etc 

Terminology 
· Measurand: Physical quantity being measured.

· Calibration: Implies that there is a numeric relationship throughout the whole instrumentation system and that it is directly related to an approved national or international standard. 

· Test instrumentation: It is a branch of instrumentation and most closely associated with the task of gathering data during various development phases encountered in engineering, e.g. flight test instrumentation for testing and approving aircraft. 
· Transducer: A device that converts one form of energy to another. 
· Electronic transducer: It has an input or output that is electrical in nature (e.g., voltage, current or resistance).

· Sensor: Electronic transducer that converts physical quantity into an electrical signal.

· Actuator: Electronic transducer that converts electrical energy into mechanical energy. 
Why measurements?

· In the case of process industries and industrial manufacturing… 
· To improve the quality of the product

· To improve the efficiency of production

· To maintain the proper operation. 
Why Instrumentation?

· To acquire data or information (hence data acquisition) about parameters, in terms of:

· putting the numerical values to the physical quantities

· making measurements otherwise inaccessible.

· producing data agreeable to analysis (mostly in electrical form) 
· Data Acquisition Software (DAS) – data is acquired by the instrumentation system. 
Types of Measurements

· Direct comparison
· Easy to do but… less accurate
· e.g. to measure a steel bar
· Indirect comparison
· Calibrated system; consists of several devices to convert, process (amplification or filtering) and display the output 
· e.g. to measure force from strain gages located in a structure
Generalised measuring system

[image: image2.png]Signal Signal Data

tmput | Sensing g g Datz Output
lement conditioning processing presentation

True | © clement clement clement | Measured

value valuo




General Structure of  Measuring System 
· Stage 1: A detection-transducer or sensor-transducer, stage; e.g. Bourdon tube
· Stage 2: A signal conditioning stage; e.g. gearing, filters, bridges
· Stage 3: A terminating or readout-recording stage; e.g. printers, oscilloscope
Types of Instruments in Measurements

· Active Instruments

· the quantity being measured simply modulates (adapts to) the magnitude of some external power source. 
· Passive Instruments

· the instrument output is entirely produced by the quantity being measured 

· Difference between active & passive instruments is the level of measurement resolution that can be obtained. 
Active Instruments

· e.g. Float-type petrol tank level indicator 
[image: image3.png]Pivot

Float

" S

Output
voltage




Petrol Tank Level Indicator

· The change in petrol level moves a potentiometer arm, and the output signal consists of a proportion of the external voltage source applied across the two ends of the potentiometer.

· The energy in the output signal comes from the external power source: the primary transducer float system is merely modulating the value of the voltage from this external power source. 
Passive Instruments

· e.g. Pressure-measuring device 
[image: image4.png]Pointer

Piston — | |

=

Fluid — |

Scale

Pivot




Passive Pressure Gauge

· The pressure of the fluid is translated into a movement of a pointer against scale.

· The energy expanded in moving the pointer is derived entirely from the change in pressure measured: there are no other energy inputs to the system. 
Analogue Instruments
· An analogue instrument gives an output that varies continuously as the quantity being measured; e.g. Deflection-type of pressure gauge 
[image: image5.emf]
Digital Instruments

· A digital instrument has an output that varies in discrete steps and only have a finite number of values; e.g. Revolution counter  
[image: image6.emf]
Units of Measurements

· To define physical quantities in type and magnitude 
· Units of measurement may be defined as the standard measure of each kind of physical quantity. 
Standard of Measurements
· Efforts were made to standardise systems of measurement so that instrument professionals and specialist in other disciplines could communicate among themselves. 
· As a physical representation of a unit of measurement 
· It is used for obtaining the values of the physical properties of other equipment by comparison methods; e.g. 

· The fundamental unit of mass in the SI system is the kilogram, defined as the mass of a cubic decimeter of water at its temperature of maximum density of 4(C. 
Examples of Standard Bodies

· International Organization for Standardization (ISO) 
· International Electrotechnical Commission (IEC) 
· American National Standards Institute (ANSI) 
· Standards Council of Canada ( SCC)

· British Standards (BS)
Calibration

Calibration consists of comparing the output of the 

instrument or sensor under test against the output of 

an instrument of known accuracy  (higher accuracy)

when the same input (the measured quantity is applied 

to both instrument)

The procedure is carried out for a range of inputs covering

the whole measurement range of the instrument or sensor

Ensures that the measuring accuracy of all instruments and

sensors used in a measurement system is known over the 

whole measurement range, provided that the calibrated 

instruments and sensors are used in environmental conditions

that are the same as those under which they were calibrated

Calibration involve a comparison of an instrument with either:

1. A primary standard

2. A secondary standard

3. A known input

[image: image7.png]Standard weight
measurement facility

Example:
amp (for example: NIST)
Weighing instrument Another weighing
instrument of higher
accuracy
Mass standard




Calibration

· The method and apparatus for performing measurement instrumentation calibrations vary widely. 
· A rule that should be followed is that the calibration standard should be at least 10 times as accurate as the instrument being calibrated.
· By holding some inputs constant, varying others and recording the output(s) develop the desired static input-output relations. Many trial and runs are needed.
Application

· Home 

· Thermometer

· Barometer

· Watch

· Road vehicles         

· speedometer 

· fuel gauge

· Industry 
· Automation 

· Process control 

· Boiler control 
