Tutorial 2

Part 1:

- Explain with a circuit diagram the operation of a basic dc ammeter using PPMC instrument.

- What the value of shunt resistance is required for using 50 µA meter movement having an internal resistance of 250 Ω for measuring current in the range of 0-500 mA?

- Design a multirange ammeter with ranges of 0-1 A, 5 A, 25 A, 125 A employing individual shunts for each range. A D’ Arsonval movement with an internal resistance of 730 Ω and a full scale current of 5 mA is available.

- Design an Ayrton shunt to provide an ammeter with current ranges of 0 -1 mA, 5 mA, 20 mA, and 50 mA, using a D’Arsonval movement having internal resistance of 50 Ω and a full scale current of 100 µA.

- Figure 1 shows an Aryton shunt of an ammeter with a current range of 0 – 1 mA, 10 mA, 50 mA and 100 mA. A D’ Arsonval movement with an internal resistance of 100 Ω and full scale current of 50 µA is used. Propose the value of Ra, Rb, Rc and Rd for this design.

Figure 1

- A current meter that has an internal resistance of 100 Ω is used to measure the current through resistor Ra in Figure 2. Determine the percentage of error of the reading due to ammeter insertion.

Figure 2

Part 2:

Question 1

- Explain with a circuit diagram the operation of a basic dc voltmeter using PPMC instrument.

multiplier is to limit the current through movement so that it does not exceed full scale deflection.

- Define sensitivity of voltmeters. What is the significance of sensitivity in voltmeters?

Sensitivity is based on the full scale current (fsd) results whenever resistance is present in the meter circuit for each voltage applied.

The ideal voltmeter should have an infinite internal resistance so that it reacts almost like an open circuit. High internal resistance does not contribute to the measured voltage drop.

Low sensitivity means high fsd current, subsequently low internal resistance. Low sensitivity voltmeter usually contributes to slightly high error compared to high sensitivity voltmeter.

- A basic D’Arsonval movement with a full scale deflection of 50µA and having an internal resistance of 1800 Ω is available. It is to be converted into a 0 – 1V, 0-5V, 0-20V, 0-100V multirange voltmeter using individual multipliers for each range. Calculate the values of the individual resistor.

Step 1 for 1V (V1)

Step 2 for 5V (V2)

Step 3 for 20V (V3)

Step 4 for 100V (V4)

Question 2

- State the effect of using a voltmeter of low sensitivity.

A low sensitivity voltmeter may give a correct reading when measuring voltage in a low resistance circuit, but it may produce unreliable reading in a high resistance circuit.

- Convert a  basic D’Arsonval movement with an internal resistance  of  100 Ω  and a full scale deflection of  1mA into a multirange dc voltmeter with the voltage ranges of a 0 – 1V,0-10V, 0-50V.

Step 1 for 1V (V3)

Step 1 for 10V (V2)

Step 3 for 50V (V1)

Question 3

Figure 3

Two different voltmeters are used to measure the voltage across R2 in the circuit in Figure 3. The meters are as follows:

- 5 V range, S = 20 kΩ/V.

- 10 V range, S = 20 kΩ/V.

Let Vs = 40V, R1 = 20 kΩ, R2 = 1 kΩ and R3 = 10 kΩ. Identify which voltmeter introduces least error due to loading.

Question 4

Figure 4

- The circuit diagram of Figure 4 shows a full wave rectifier ac voltmeter. The meter movement has an internal resistance of 250 Ω and required 1 mA for full scale deflection. The diodes each have a forward resistance of 50 Ω and infinite reverse resistance. Calculate:

- The ohms per volt rating of the ac voltmeter.

- The series resistance required for full scale meter deflection when 25V rms is applied to the meter terminals.

Solution

(i)	Rm = 250 Ω, Ifsd =1 mA, RD=50Ω.

Ohms per volt rating =

(ii)	Series resistance,

# Sketch the circuit and waveforms for an ac voltmeter using PMMC instrument and a half wave rectifier. Explain the circuit operation.

At +ve cycle, D1 is forward biased. The current is flowing through the movement that caused deflection.

At -ve cycle, D1 is reversed biased. No current is flowing through the movement, therefore no deflection.

- A D’Arsonval meter movement with a full scale deflection current rating 0f 1mA and an internal resistance of 500Ω is to be used in a half wave rectifier ac voltmeter. Calculate the ac and dc sensitivity and the value of the multiplier resistor for a 30Vrms range.

Part 3:

- Explain with a circuit diagram the operation of a series type ohmmeter.

- A 1mA full scale deflection current meter movement is to be used as an ohmmeter circuit. The meter movement has an internal resistance of 500 Ω and a 5V battery will be used in the circuit. Mark off the meter face (dial) for reading resistance with a 20%, 50% and 100% deflection.

Solution

Rm = 500 Ω, Ifsd =1 mA, E=5V

The value of Rs which limit current to FSD current,

The value of Rx with 20% deflection

The value of Rx with 50% deflection

The value of Rx with 100% deflection

- With reference to Figure 5, state the ohmmeter scale when the current is 0A, 1/2 FSD, 1/4FSD and FSD

Figure 5

The value of Rx at 0A scale(Im=0):

The value of Rx at ½ FSD (Im=0.5Ifsd):

The value of Rx at 1/4 FSD (Im=0.25Ifsd):

The value of Rx at FSD (Im=Ifsd):