EEE3351 ASSIGNMENT 2
1. A Moose conductor has the following details: outer diameter=31.8 mm. Area of Al (Aluminium)  =515.7 mm2. Calculate the resistance of 1 km of a double-Moose bundled conductor at 50 0C given that 

[image: image14.png]insulator




at 20 0C and temperature resistance coefficient of Al=. (Increase length by 5% for stranding).
2. A point charge Q=10-6 coulomb is kept on the surface of a conducting sphere of radius r=1 cm, which can be considered as a point charge located at the centre of the sphere. Calculate the electric field strength and potential at a distance of 0.5 cm from the surface of sphere. Also find the capacitance of the sphere, 
[image: image3.wmf].

1

=

r

e


3. The electric field strength on the surface of a sphere of 1 cm radius is equal to the corona-inception gradient in air of 30 kV/cm. Find the charge and potential on the sphere.

4. A single conductor EHV transmission line strung above ground is used for experimental purposes to investigate high-voltage effects. The conductor is expanded ACSR with diameter +999of 6.35 cm and the line height is 21 metres above ground. (a) Calculate the voltage to ground which will make its surface voltage gradient equal to corona-inception gradient Eor given by Peek’s formula:

[image: image1.wmf]m

a

.

10

7

.

2

8

W

´

=

-

r

where m=1.3 required for stranding effect, and the conductor radius r is in cm. (b) Find the charging current and MVAR of the single-phase transformer for exciting 1 km length of the experimental line.
5. For a 330-kV line, calculate the maximum surface voltage gradients on the centre and outer phases for a single circuit horizontal configuration at the maximum operating voltage of 345 kV, r.m.s. line-to-line. Also compute the r.m.s. values of ground level electrostatic field of this transmission line at its maximum operating voltage. Vary the horizontal distance along ground from the line centre from 0 to 3H. The other dimensions are: H=13 m, S=11 m, N=2, r=1.59 cm, and B=45 cm. 
6. A MOS transistor is essentially a parallel-plate capacitor comprising a silicon substrate, a silicon dioxide insulating layer, and an aluminium gate electrode as shown in figure 6.1. The silicon dioxide has relative permittivity 3.85 and dielectric strength 
[image: image4.wmf]8

10

0

.

6

´

V.m-1, the insulating layer is 
[image: image5.wmf]m

m

1

.

0

thick, and the area of the gate electrode is 0.02 mm2. Estimate the capacitance between the gate and the substrate and the maximum voltage which can be applied to the gate electrode. (ignore fringing fields)
[image: image12.wmf].,

.

.

,

/

,

301

.

0

1

1

2

30

s

m

r

cm

kV

r

m

E

or

÷

ø

ö

ç

è

æ

+

=



Figure 6.1 Arrangement of layers in a MOS transistor
7. Find the charge in the volume defined by
[image: image6.wmf]m

z

m

y

m

x

1

0

,

1

0

,

1

0

£

£

£

£

£

£

 if 
[image: image7.wmf]y

x

2

30

=

r

 
[image: image8.wmf]3

/

m

C

m

. What change occurs for the limits 
[image: image9.wmf]?

0

1

m

y

£

£

-


8. A uniform line charge of 
[image: image10.wmf]m

C

l

/

3

m

r

=

lies along the z-axis and a concentric circular cylinder of radius 2 m has 
[image: image11.wmf](

)

2

/

4

/

5

.

1

m

C

m

p

-

. Both distributions are infinite in extent with z. Use Gauss’ law to define D in all directions. (Use vector notations)
Note: Due in one week’s time!
� EMBED Unknown  ���








[image: image13.wmf].,

.

.

,

/

,

301

.

0

1

1

2

30

s

m

r

cm

kV

r

m

E

or

÷

ø

ö

ç

è

æ

+

=

_1445163270.unknown

_1445166104.unknown

_1445166256.unknown

_1445166749.unknown

_1445166933.unknown

_1445166354.unknown

_1445166161.unknown

_1445163525.unknown

_1445104858.unknown

_1445155692.unknown

_1445157045.unknown

_1445104652.unknown

